DOWTM Ultrafiltration System Optimization Services Request Form

Please complete this form and email to UFSOS@dow.com.  You will receive an email containing a Return Authorization (RA) Number and Shipping instruction of your returning Ultrafiltration modules.

Dow Water & Process Solutions (DW&PS) offers module testing services to its customers for a nominal fee.  Modules or fibers can be tested to troubleshoot problems in ultrafiltration systems. In addition to test results, we provide a complete report with a description of the tests performed and the implications of the test results on your operation. Several test packages are available.

| Send Results To: | Send Invoice To: |
| --- | --- |
| Name : | Name: |
| Company: Plant Name: | Company: |
| Street Address: City: State: Country: Postal Code/Zip: | Street Address: City: State: Country: Postal Code/Zip: |
| Phone: | Phone: |
| Fax: Email: | Fax: Email: |

PO Number:

*Please indicate number of modules sending in for Ultrafiltration System Optimization Services:

| Product Model Number | Serial Number | Date of Commissioning | Problems/Symptoms (enter number and letter) 1) Low Flow 2) High TMP 3) Normal Flow A) Poor Filtrate Quality B) Smelly Odor Other (give details below in Step 8) |
| --- | --- | --- | --- |

Test Options ($US)   Please check service(s) requested:

| Service Package 1 | Basic module performance: $250/module (Physical inspection, standard flow test, integrity test, and fiber repair) |
| --- | --- |
| Service Package 2 | Module autopsy, fiber characteristics tests: $1300/module (Module autopsy and internal inspection, fiber permeability, fiber elongation, fiber pore size, fiber microstructure, and foulant analysis) Note: this is a destructive test and the module will not be returned |
| Service Package 3 | Cleaning and recommendation; $300/module |
| Other (specify) |  |

To process your request, the above information needs to be complete.  We recommend that the Critical Module Information Form be as complete as possible to enable DW&PS to prepare a more detailed Final Report.

® ™Trademark of The Dow Chemical Company 		 SM Trademark of The Dow Chemical Company

Market/Industry

Municipal Potable Water市政饮用水 Water Reuse废水回用                                       Industrial Process Water工艺水

Power Plant电厂                              Microelectronics, Semiconductor微电子,半导体  Pharmaceutical医药

Food & Beverage食品医药              Metallurgy冶炼                                                   Others, specify

Feed Water Source /原水类型

| Tap water自来水 | Ground water地下水 | Lake water 湖水 |
| --- | --- | --- |
| River water 河水 | Reservoir water 水库水 |
| Sea water, Open Intake 表面海水 | Sea Water, Beach Well 地下海水 | Mine waste water矿井废水 |
| Steel waste water 钢铁废水 |

# Upstream process/前端工艺

# (Please write number at middle column to identify their order请在中间一列中输入数字以区分其先后次序)

| Process/ Equipment Name 工艺/设备名称 | Order 次序 | Remark 备注 |
| --- | --- | --- |
| Aeration曝气 | ( ) |  |
| A/O treatment 生化处理 | ( ) |  |
| Coagulation/Flocculation/絮凝 | ( ) |  |
| Sedimentation 沉降 | ( ) |  |
| Clarification澄清 | ( ) |  |
| Secondary Sedimentation二级沉降 | ( ) |  |
| Secondary Clarification二级澄清 | ( ) |  |
| Lime Softening石灰软化 | ( ) |  |
| Sterilization/Disinfection杀菌消毒 | ( ) |  |
| Pressure sand filter快速砂滤器 | ( ) |  |
| Multimedia Filter 多介质过滤器 | ( ) |  |
| Green Sand Filter 锰砂过滤器 | ( ) |  |
| Activated Carbon Filter 活性炭过滤器 | ( ) |  |
| Cartridge Filter 滤芯过滤器 | ( ) | Pore size 孔径 µm Exchange Frequency更换频率 |
| Bag Filter 滤袋过滤器 | ( ) | Pore size孔径 µm Exchange Frequency更换频率 |
| Self cleaning filter 自清洗过滤器 | ( ) | Pore size孔径 µm Backwash Frequency反洗频率 |
| Other specify 其他详述 | ( ) |  |

# 3. Chemicals used in Upstream process前端工艺使用药剂

# Oxidants 氧化剂

# Hypochlorite Sodium 次氯酸钠:     	Feed Point加入点:      	Dosage剂量:      ppm

# Chlorine Dioxide 二氧化氯

# Ozone 臭氧

# Other 其他

# On-line Shock Dosing在线间断投加: 	No	Yes:	 Dosage剂量       Frequency频率

# Flocculants/Coagulants絮凝/混凝

# Alum 明矾:		              Feed Point加入点:      	Dosage剂量:      ppm

# Ferric Chloride氯化铁  : 	Feed Point加入点:       	Dosage剂量:      ppm

# Organic Polymer有机聚合物:	Feed Point加入点:       	Dosage剂量:      ppm

# PAC 聚合氯化铝 		Feed Point加入点:       	Dosage剂量:      ppm

# Ferric Sulfate硫酸铁		Feed Point加入点:      	Dosage剂量:      ppm

# Other其他      		Feed Point加入点:       	Dosage剂量:      ppm

# On-line Shock Dosing在线间断投加:    No   Yes:   Dose Rate and duration剂量       Frequency频率

# Acidification 酸化:           	                   No   Yes:  Sulfuric Acid 硫酸	Hydrochloric Acid  盐酸

# Other 其他

# Antiscalant Front of UF超滤前端投加阻垢剂:       No        	Yes:

# Product Name 药品名           Dose Rate and duration剂量     ppm      Feed Point 投加点

# 4. UF Design 超滤设计

# Number of Trains套数: __

# Number of Modules in Each Train每套数量:

# Module Type原件型号: __

# Start-Up Date UF System启动日期:  __

# Filtrate Flow Per Train 单套产水量:  __

# Backwash Flow Per Train 单套反洗水量:  __

# Filtrate Flow Recovery回收率:  __

# Concentrate Bleed Flow Per Train 单套浓水量排放量：  __

# Filtrate Application产水用于: 	Potable Water  饮用	Irrigation Water灌溉  	Backfill Water  回填

# Process Water工艺	Other其他: specify详述

# 5. UF Operation超滤使用

# Is the UF unit in continuous operation超滤装置是否连续运行?  No     Yes

# How long was most of extended shutdown for UF system最长停车时间多少?

# Is a backwash carried out prior to shutdown是否在停车前进行过反洗?  No   Yes:

# What kind of water is used for the backwash/flush?使用何种水反洗

# Raw Water原水                                                  UF Filtrate Water 超滤产水

# RO/NF Permeate Water RO/NF产水                 Other 其他, specify详述:

# What was the highest level of TMP最高的跨膜压力到达多少？ __

# What air scrub pressure was regulated to? 气洗压力多少？__

# Is air scrub process applied to in every backwash process? 是否每次反洗都有气洗？No  Frequency频率___ Yes

# What is backwash frequency? 反洗频率多长时间 _____.

# Does UF system include CEB process 超滤系统是否含有CEB装置？   No      Yes   CEB Type  &  Frequency？

# CEB one: chemical type化学药剂种类 _____, chemical dosage加药量_____, soaking duration浸泡时间_____, frequency使用频率_____

# CEB two: chemical type化学药剂种类 _____, chemical dosage加药量_____, soaking duration浸泡时间_____, frequency使用频率_____

# 6. Feed Water, Filtrate Analysis进产水分析

# (please provide water analysis  if available如有水质分析报告，请附上)

| Temperature (C) | __________ |
| --- | --- |
| SDI | __________ |
| Turbidity (NTU) | __________ |
| CODMn (ppm) | __________ |
| BOD5 | __________ |
| Colloidal Silica (ppm) | __________ |
| TOC (ppm) | __________ |
| Total Manganese (ppm) | __________ |
| Total Iron (ppm) | __________ |
| Hardness (ppm as CaCO3) | __________ |
| pH | __________ |
| TSS (ppm) | __________ |
| Oil (ppm) | __________ |
| Other, please specify | __________ |

# 7. Cleaning 清洗

# What is the reason for cleaning? 清洗原因

# TMP Increases  TMP增加

# Filtrate Flow Decreases产水量下降

# Turbidity/SDI Increases at Filtrate Water产水浊度/SDI上升

# Other, specify其他，详述

# Is CIP unit equipped with cleaning pump? CIP装置是否配置专用清洗泵                                        No    Yes

# Is CIP unit equipped with cartridge filters? CIP装置是否配置过滤器                                               No   Yes

# Is Water drained out of UF unit before CIP?在CIP前，UF装置内水是否排放彻底                        No    Yes

# Do carry out air scrub process thoroughly before CIP?在CIP前是否做过彻底气洗                        No    Yes

# Is cleaning solution heated?是否加热过清洗液 	                                                                   No    Yes

# What temperature level are chemical solution heated CIP时加热到多少 ____

# Which cleaning method is applied使用哪种方式?

# Alkaline, specify which product 碱液，产品详述

# Acid, specify which product酸液，产品详述

# Oxidant, specify which product氧化剂，产品详述

# Other, specify which product其他，产品详述

# Please describe the cleaning procedure请详细描述清洗过程:

# What order are the cleaning chemicals applied? 化学药剂使用顺序 (number 1-4用1-4表述)

# Alkaline碱

# Acid酸

# Oxidant 氧化剂

# Other其他

# What kind of water is used for the dilution of the cleaning chemicals? 使用哪种水稀释清洗药剂

# RO Permeate RO产水  UF Filtrate  UF产水	 City water自来水

# DI water 去离子水          Softened water	 软化水    Other, specify 其他详述

# What is the flow rate during cleaning? 清洗流量多少       gpm   m3/hr  Other

# How long do the Chemical Solution soak? 药剂浸泡多久？ ______

# 8. Please include any other relevant information: 请提供其他一些相关信息

Notice:  No freedom from any patent owned by Seller or others is to be inferred. Because use conditions and applicable laws may differ from one location to another and may change with time, Customer is responsible for determining whether products and the information in this document are appropriate for Customer’s use and for ensuring that Customer’s workplace and disposal practices are in compliance with applicable laws and other governmental enactments. Seller assumes no obligation or liability for the information in this document. NO WARRANTIES ARE GIVEN; ALL IMPLIED WARRANTIES OF MERCHANTABILITYOR FITNESS FOR A PARTICULAR PURPOSE ARE EXPRESSLY EXCLUDED.